## Metrics
Sample Filename | Specimen ID | Amplicon ID | Analysis Status | Basecall | Trim | Trace Score | Trace Score Quality | CRL | CRL Quality | QV20+ | QV20 Quality | PUP Score | Clear Range Start | Clear Range End | Warning/Error Message
19_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 33 | pass | 168 | check | 142 | check | 6 | 1 | 208 | [Basecall Warnings:Failed estimation of average peak spacing: ;Failed estimation of average peak width: ;Failed estimation of spacing curve: ;Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 3660);] [Trim Warnings:Failed estimation of average peak spacing: ;Failed estimation of average peak width: ;Failed estimation of spacing curve: ;Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 3660);]
19_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 52 | pass | 539 | pass | 558 | pass | 47 | 1 | 621 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 9173);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 9173);]
19_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 48 | pass | 682 | pass | 650 | pass | 17 | 1 | 739 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10688);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10688);]
19_R2.ab1 | N/A | N/A | success | success | success | 38 | pass | 842 | pass | 868 | pass | 10 | 1 | 1227
19_R3.ab1 | N/A | N/A | success | success | success | 34 | pass | 677 | pass | 834 | pass | 5 | 1 | 1206
19_R4.ab1 | N/A | N/A | success | success | success | 27 | check | 375 | pass | 571 | pass | 3 | 1 | 1301
39_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 42 | pass | 819 | pass | 745 | pass | 11 | 1 | 935 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 12858);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 12858);]
39_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 35 | pass | 836 | pass | 768 | pass | 6 | 1 | 1111 | [Basecall Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14683);] [Trim Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14683);]
39_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 44 | pass | 641 | pass | 640 | pass | 12 | 1 | 732 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 10566);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 10566);]
39_R2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 42 | pass | 650 | pass | 748 | pass | 11 | 1 | 947 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 13018);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 13018);]
39_R3.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 27 | check | 301 | pass | 404 | pass | 2 | 1 | 932 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 12333);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 12333);]
39_R4.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 30 | pass | 400 | pass | 486 | pass | 3 | 1 | 901 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 12142);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 12142);]
48_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 44 | pass | 590 | pass | 547 | pass | 31 | 1 | 697 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 10240);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 10240);]
48_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 29 | check | 531 | pass | 466 | pass | 3 | 1 | 616 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 9074);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 9074);]
48_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 53 | pass | 707 | pass | 699 | pass | 18 | 1 | 735 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10571);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10571);]
48_R2.ab1 | N/A | N/A | success | success | success | 39 | pass | 684 | pass | 841 | pass | 13 | 1 | 1201
48_R4.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 26 | check | 346 | pass | 492 | pass | 2 | 1 | 1169 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 14516);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 14516);]
52_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 41 | pass | 476 | pass | 512 | pass | 19 | 1 | 697 | [Basecall Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 10224);] [Trim Warnings:Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 10224);]
52_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 18 | check | 31 | fail | 171 | check | 1 | 1 | 586 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 9024);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 9024);]
52_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 52 | pass | 709 | pass | 697 | pass | 16 | 1 | 733 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10520);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10520);]
52_R2.ab1 | N/A | N/A | success | success | success | 38 | pass | 700 | pass | 812 | pass | 10 | 1 | 1200
52_R3(2).ab1 | N/A | N/A | success with warning | success with warning | success with warning | 30 | pass | 306 | pass | 378 | pass | 3 | 1 | 778 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10725);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10725);]
52_R3.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 25 | check | 307 | pass | 554 | pass | 2 | 1 | 1273 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 14506);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 14506);]
52_R4.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 7 | fail | 0 | fail | 0 | fail | 1 | 1 | 114 | [Basecall Warnings:Failed estimation of average peak spacing: ;Failed estimation of average peak spacing: ;Failed estimation of spacing curve: ;Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 3254);] [Trim Warnings:Failed estimation of average peak spacing: ;Failed estimation of average peak spacing: ;Failed estimation of spacing curve: ;Failed estimation of width curve: ;Analysis stopped due to low signal condition: : (near raw scan 3254);]
59_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 47 | pass | 853 | pass | 795 | pass | 33 | 1 | 947 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 12851);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 12851);]
59_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 38 | pass | 580 | pass | 745 | pass | 19 | 1 | 1139 | [Basecall Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14631);] [Trim Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14631);]
59_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 55 | pass | 708 | pass | 702 | pass | 19 | 1 | 738 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10586);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10586);]
59_R2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 45 | pass | 865 | pass | 879 | pass | 20 | 1 | 1125 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 14442);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 14442);]
59_R3.ab1 | N/A | N/A | success | success | success | 27 | check | 335 | pass | 533 | pass | 3 | 1 | 1175
59_R4.ab1 | N/A | N/A | success | success | success | 30 | pass | 380 | pass | 639 | pass | 3 | 1 | 1233
60_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 48 | pass | 814 | pass | 767 | pass | 32 | 1 | 902 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 12395);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 12395);]
60_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 38 | pass | 629 | pass | 708 | pass | 22 | 1 | 1106 | [Basecall Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14492);] [Trim Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14492);]
60_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 55 | pass | 711 | pass | 701 | pass | 20 | 1 | 738 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10555);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10555);]
60_R2.ab1 | N/A | N/A | success | success | success | 42 | pass | 932 | pass | 909 | pass | 17 | 1 | 1237
60_R3.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 52 | pass | 311 | pass | 307 | pass | 41 | 1 | 349 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 5444);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 5444);]
60_R4.ab1 | N/A | N/A | success | success | success | 29 | check | 380 | pass | 637 | pass | 3 | 1 | 1283
70_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 55 | pass | 590 | pass | 574 | pass | 42 | 1 | 618 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 9265);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 9265);]
70_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 39 | pass | 861 | pass | 796 | pass | 18 | 1 | 1121 | [Basecall Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14607);] [Trim Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14607);]
70_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 53 | pass | 706 | pass | 697 | pass | 19 | 1 | 732 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10560);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10560);]
70_R2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 43 | pass | 861 | pass | 905 | pass | 19 | 1 | 1183 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 14589);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 14589);]
70_R3.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 23 | check | 301 | pass | 460 | pass | 1 | 1 | 1307 | [Basecall Warnings:Failed estimation of width curve: ;] [Trim Warnings:Failed estimation of width curve: ;]
70_R4.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 32 | pass | 397 | pass | 663 | pass | 4 | 1 | 1088 | [Basecall Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14475);] [Trim Warnings:Analysis stopped due to low resolution condition: : (near raw scan 14475);]
78_P1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 57 | pass | 585 | pass | 580 | pass | 49 | 1 | 617 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 9353);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 9353);]
78_P2.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 56 | pass | 590 | pass | 585 | pass | 55 | 1 | 620 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 9141);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 9141);]
78_R1.ab1 | N/A | N/A | success with warning | success with warning | success with warning | 55 | pass | 708 | pass | 704 | pass | 19 | 1 | 733 | [Basecall Warnings:Analysis stopped due to low signal condition: : (near raw scan 10653);] [Trim Warnings:Analysis stopped due to low signal condition: : (near raw scan 10653);]
78_R2.ab1 | N/A | N/A | success | success | success | 40 | pass | 688 | pass | 901 | pass | 13 | 1 | 1227
78_R3.ab1 | N/A | N/A | success | success | success | 28 | check | 335 | pass | 599 | pass | 2 | 1 | 1228
78_R4.ab1 | N/A | N/A | success | success | success | 30 | pass | 375 | pass | 673 | pass | 3 | 1 | 1286

## Analysis
Sample Filename | Assay Name | PA Protocol Name | Basecall Version | Mobility File | Base Spacing | First Peak Scan At | Start Scan At | End Scan At | Basecall Date/Time
39_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.31 | 1320 | 1320 | 15445 | 2022-12-01 17:55
48_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.31 | 1309 | 1309 | 15390 | 2022-12-01 17:55
52_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.19 | 1322 | 1322 | 15354 | 2022-12-01 17:55
70_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.31 | 1310 | 1310 | 15408 | 2022-12-01 17:55
59_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.31 | 1309 | 1309 | 15421 | 2022-12-01 17:55
60_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.26 | 1315 | 1315 | 15358 | 2022-12-01 17:55
78_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.54 | 1313 | 1313 | 15649 | 2022-12-01 17:55
19_P1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | -13.18 | 1303 | 1303 | 15174 | 2022-12-01 17:55
39_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.03 | 1296 | 1296 | 14953 | 2022-12-01 20:00
48_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.01 | 1301 | 1301 | 14929 | 2022-12-01 20:00
52_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.92 | 1303 | 1303 | 14870 | 2022-12-01 20:00
70_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.02 | 1276 | 1276 | 14930 | 2022-12-01 20:00
59_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.06 | 1277 | 1277 | 14895 | 2022-12-01 20:01
60_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.05 | 1287 | 1287 | 14926 | 2022-12-01 20:01
78_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.19 | 1279 | 1279 | 15187 | 2022-12-01 20:01
19_P2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.23 | 1286 | 1286 | 15264 | 2022-12-01 20:01
39_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13 | 1327 | 1327 | 15018 | 2022-12-01 22:05
48_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.02 | 1314 | 1314 | 15010 | 2022-12-01 22:05
52_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.93 | 1341 | 1341 | 14901 | 2022-12-01 22:05
70_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.97 | 1325 | 1325 | 14946 | 2022-12-01 22:05
59_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13 | 1311 | 1311 | 15006 | 2022-12-01 22:05
60_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.97 | 1318 | 1318 | 14941 | 2022-12-01 22:05
78_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.19 | 1318 | 1318 | 15165 | 2022-12-01 22:05
19_R1.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.25 | 1304 | 1304 | 15223 | 2022-12-01 22:05
39_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.18 | 1299 | 1299 | 15140 | 2022-12-02 00:09
48_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.13 | 1287 | 1287 | 15050 | 2022-12-02 00:09
52_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.08 | 1307 | 1307 | 14942 | 2022-12-02 00:09
70_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.15 | 1285 | 1285 | 14964 | 2022-12-02 00:09
59_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.2 | 1285 | 1285 | 15024 | 2022-12-02 00:09
60_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.15 | 1294 | 1294 | 14995 | 2022-12-02 00:09
78_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.39 | 1275 | 1275 | 15272 | 2022-12-02 00:09
19_R2.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.38 | 1277 | 1277 | 15336 | 2022-12-02 00:09
39_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.94 | 1277 | 1277 | 14630 | 2022-12-02 02:15
52_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.92 | 1264 | 1264 | 14705 | 2022-12-02 02:15
52_R3(2).ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.84 | 1282 | 1282 | 14506 | 2022-12-02 02:15
70_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.95 | 1260 | 1260 | 14931 | 2022-12-02 02:15
59_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.97 | 1264 | 1264 | 14025 | 2022-12-02 02:15
60_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 12.95 | 1273 | 1273 | 13839 | 2022-12-02 02:15
78_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.16 | 1259 | 1259 | 14755 | 2022-12-02 02:15
19_R3.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.16 | 1256 | 1256 | 15206 | 2022-12-02 02:15
39_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.09 | 1314 | 1314 | 14935 | 2022-12-02 04:19
48_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.08 | 1298 | 1298 | 14885 | 2022-12-02 04:19
52_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | -13.18 | 1578 | 1578 | 15449 | 2022-12-02 04:19
70_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.12 | 1310 | 1310 | 14825 | 2022-12-02 04:19
59_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.16 | 1311 | 1311 | 14815 | 2022-12-02 04:19
60_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.1 | 1300 | 1300 | 14750 | 2022-12-02 04:19
78_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.31 | 1300 | 1300 | 15093 | 2022-12-02 04:19
19_R4.ab1 | HIV v1.1 amplisens | HIV | KB 1.4.1.8 | KB_3500_POP7_BDTv1.mob | 13.44 | 1308 | 1308 | 15232 | 2022-12-02 04:19

## Data
Sample Filename | Specimen ID | Amplicon ID | Sample Name | Well Position | Capillary Number | Cap Array Length | Polymer Name | Instrument Model | Instrument Name
39_P1.ab1 | N/A | N/A | 39_P1 | A01 | 1 | 8 | POP7 | 3500 | 3500 Instrument
48_P1.ab1 | N/A | N/A | 48_P1 | B01 | 2 | 8 | POP7 | 3500 | 3500 Instrument
52_P1.ab1 | N/A | N/A | 52_P1 | C01 | 3 | 8 | POP7 | 3500 | 3500 Instrument
70_P1.ab1 | N/A | N/A | 70_P1 | D01 | 4 | 8 | POP7 | 3500 | 3500 Instrument
59_P1.ab1 | N/A | N/A | 59_P1 | E01 | 5 | 8 | POP7 | 3500 | 3500 Instrument
60_P1.ab1 | N/A | N/A | 60_P1 | F01 | 6 | 8 | POP7 | 3500 | 3500 Instrument
78_P1.ab1 | N/A | N/A | 78_P1 | G01 | 7 | 8 | POP7 | 3500 | 3500 Instrument
19_P1.ab1 | N/A | N/A | 19_P1 | H01 | 8 | 8 | POP7 | 3500 | 3500 Instrument
39_P2.ab1 | N/A | N/A | 39_P2 | A02 | 1 | 8 | POP7 | 3500 | 3500 Instrument
48_P2.ab1 | N/A | N/A | 48_P2 | B02 | 2 | 8 | POP7 | 3500 | 3500 Instrument
52_P2.ab1 | N/A | N/A | 52_P2 | C02 | 3 | 8 | POP7 | 3500 | 3500 Instrument
70_P2.ab1 | N/A | N/A | 70_P2 | D02 | 4 | 8 | POP7 | 3500 | 3500 Instrument
59_P2.ab1 | N/A | N/A | 59_P2 | E02 | 5 | 8 | POP7 | 3500 | 3500 Instrument
60_P2.ab1 | N/A | N/A | 60_P2 | F02 | 6 | 8 | POP7 | 3500 | 3500 Instrument
78_P2.ab1 | N/A | N/A | 78_P2 | G02 | 7 | 8 | POP7 | 3500 | 3500 Instrument
19_P2.ab1 | N/A | N/A | 19_P2 | H02 | 8 | 8 | POP7 | 3500 | 3500 Instrument
39_R1.ab1 | N/A | N/A | 39_R1 | A03 | 1 | 8 | POP7 | 3500 | 3500 Instrument
48_R1.ab1 | N/A | N/A | 48_R1 | B03 | 2 | 8 | POP7 | 3500 | 3500 Instrument
52_R1.ab1 | N/A | N/A | 52_R1 | C03 | 3 | 8 | POP7 | 3500 | 3500 Instrument
70_R1.ab1 | N/A | N/A | 70_R1 | D03 | 4 | 8 | POP7 | 3500 | 3500 Instrument
59_R1.ab1 | N/A | N/A | 59_R1 | E03 | 5 | 8 | POP7 | 3500 | 3500 Instrument
60_R1.ab1 | N/A | N/A | 60_R1 | F03 | 6 | 8 | POP7 | 3500 | 3500 Instrument
78_R1.ab1 | N/A | N/A | 78_R1 | G03 | 7 | 8 | POP7 | 3500 | 3500 Instrument
19_R1.ab1 | N/A | N/A | 19_R1 | H03 | 8 | 8 | POP7 | 3500 | 3500 Instrument
39_R2.ab1 | N/A | N/A | 39_R2 | A04 | 1 | 8 | POP7 | 3500 | 3500 Instrument
48_R2.ab1 | N/A | N/A | 48_R2 | B04 | 2 | 8 | POP7 | 3500 | 3500 Instrument
52_R2.ab1 | N/A | N/A | 52_R2 | C04 | 3 | 8 | POP7 | 3500 | 3500 Instrument
70_R2.ab1 | N/A | N/A | 70_R2 | D04 | 4 | 8 | POP7 | 3500 | 3500 Instrument
59_R2.ab1 | N/A | N/A | 59_R2 | E04 | 5 | 8 | POP7 | 3500 | 3500 Instrument
60_R2.ab1 | N/A | N/A | 60_R2 | F04 | 6 | 8 | POP7 | 3500 | 3500 Instrument
78_R2.ab1 | N/A | N/A | 78_R2 | G04 | 7 | 8 | POP7 | 3500 | 3500 Instrument
19_R2.ab1 | N/A | N/A | 19_R2 | H04 | 8 | 8 | POP7 | 3500 | 3500 Instrument
39_R3.ab1 | N/A | N/A | 39_R3 | A05 | 1 | 8 | POP7 | 3500 | 3500 Instrument
52_R3.ab1 | N/A | N/A | 52_R3 | B05 | 2 | 8 | POP7 | 3500 | 3500 Instrument
52_R3(2).ab1 | N/A | N/A | 52_R3 | C05 | 3 | 8 | POP7 | 3500 | 3500 Instrument
70_R3.ab1 | N/A | N/A | 70_R3 | D05 | 4 | 8 | POP7 | 3500 | 3500 Instrument
59_R3.ab1 | N/A | N/A | 59_R3 | E05 | 5 | 8 | POP7 | 3500 | 3500 Instrument
60_R3.ab1 | N/A | N/A | 60_R3 | F05 | 6 | 8 | POP7 | 3500 | 3500 Instrument
78_R3.ab1 | N/A | N/A | 78_R3 | G05 | 7 | 8 | POP7 | 3500 | 3500 Instrument
19_R3.ab1 | N/A | N/A | 19_R3 | H05 | 8 | 8 | POP7 | 3500 | 3500 Instrument
39_R4.ab1 | N/A | N/A | 39_R4 | A06 | 1 | 8 | POP7 | 3500 | 3500 Instrument
48_R4.ab1 | N/A | N/A | 48_R4 | B06 | 2 | 8 | POP7 | 3500 | 3500 Instrument
52_R4.ab1 | N/A | N/A | 52_R4 | C06 | 3 | 8 | POP7 | 3500 | 3500 Instrument
70_R4.ab1 | N/A | N/A | 70_R4 | D06 | 4 | 8 | POP7 | 3500 | 3500 Instrument
59_R4.ab1 | N/A | N/A | 59_R4 | E06 | 5 | 8 | POP7 | 3500 | 3500 Instrument
60_R4.ab1 | N/A | N/A | 60_R4 | F06 | 6 | 8 | POP7 | 3500 | 3500 Instrument
78_R4.ab1 | N/A | N/A | 78_R4 | G06 | 7 | 8 | POP7 | 3500 | 3500 Instrument
19_R4.ab1 | N/A | N/A | 19_R4 | H06 | 8 | 8 | POP7 | 3500 | 3500 Instrument

## Run
Column1 | Column2 | Column3 | Column4 | Column5 | Column6
Sample Filename | Specimen ID | Amplicon ID | Injection Name | Instrument Protocol | Barcode ID
39_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
48_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
52_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
70_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
59_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
60_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
78_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
19_P1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-058 | HIV | N/A
39_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
48_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
52_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
70_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
59_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
60_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
78_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
19_P2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-068 | HIV | N/A
39_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
48_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
52_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
70_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
59_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
60_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
78_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
19_R1.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-078 | HIV | N/A
39_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
48_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
52_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
70_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
59_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
60_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
78_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
19_R2.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-088 | HIV | N/A
39_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
52_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
52_R3(2).ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
70_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
59_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
60_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
78_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
19_R3.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-098 | HIV | N/A
39_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
48_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
52_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
70_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
59_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
60_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
78_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A
19_R4.ab1 | N/A | N/A | Injection 2022-12-01-15-50-24-108 | HIV | N/A

## Trace
Column1 | Column2 | Column3 | Column4 | Column5 | Column6
Sample Filename | Specimen ID | Amplicon ID | Sample Name | Sample Comments | File Path
39_P1.ab1 | N/A | N/A | 39_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
48_P1.ab1 | N/A | N/A | 48_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
52_P1.ab1 | N/A | N/A | 52_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
70_P1.ab1 | N/A | N/A | 70_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
59_P1.ab1 | N/A | N/A | 59_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
60_P1.ab1 | N/A | N/A | 60_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
78_P1.ab1 | N/A | N/A | 78_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
19_P1.ab1 | N/A | N/A | 19_P1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj1 2022-12-01-15-50-24-058\
39_P2.ab1 | N/A | N/A | 39_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
48_P2.ab1 | N/A | N/A | 48_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
52_P2.ab1 | N/A | N/A | 52_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
70_P2.ab1 | N/A | N/A | 70_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
59_P2.ab1 | N/A | N/A | 59_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
60_P2.ab1 | N/A | N/A | 60_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
78_P2.ab1 | N/A | N/A | 78_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
19_P2.ab1 | N/A | N/A | 19_P2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj2 2022-12-01-15-50-24-068\
39_R1.ab1 | N/A | N/A | 39_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
48_R1.ab1 | N/A | N/A | 48_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
52_R1.ab1 | N/A | N/A | 52_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
70_R1.ab1 | N/A | N/A | 70_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
59_R1.ab1 | N/A | N/A | 59_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
60_R1.ab1 | N/A | N/A | 60_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
78_R1.ab1 | N/A | N/A | 78_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
19_R1.ab1 | N/A | N/A | 19_R1 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj3 2022-12-01-15-50-24-078\
39_R2.ab1 | N/A | N/A | 39_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
48_R2.ab1 | N/A | N/A | 48_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
52_R2.ab1 | N/A | N/A | 52_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
70_R2.ab1 | N/A | N/A | 70_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
59_R2.ab1 | N/A | N/A | 59_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
60_R2.ab1 | N/A | N/A | 60_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
78_R2.ab1 | N/A | N/A | 78_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
19_R2.ab1 | N/A | N/A | 19_R2 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj4 2022-12-01-15-50-24-088\
39_R3.ab1 | N/A | N/A | 39_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
52_R3.ab1 | N/A | N/A | 52_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
52_R3(2).ab1 | N/A | N/A | 52_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
70_R3.ab1 | N/A | N/A | 70_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
59_R3.ab1 | N/A | N/A | 59_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
60_R3.ab1 | N/A | N/A | 60_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
78_R3.ab1 | N/A | N/A | 78_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
19_R3.ab1 | N/A | N/A | 19_R3 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj5 2022-12-01-15-50-24-098\
39_R4.ab1 | N/A | N/A | 39_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
48_R4.ab1 | N/A | N/A | 48_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
52_R4.ab1 | N/A | N/A | 52_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
70_R4.ab1 | N/A | N/A | 70_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
59_R4.ab1 | N/A | N/A | 59_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
60_R4.ab1 | N/A | N/A | 60_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
78_R4.ab1 | N/A | N/A | 78_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\
19_R4.ab1 | N/A | N/A | 19_R4 | N/A | D:\Applied Biosystems\3500\Data\TUMEN_2022_12_01_BILALOVA_KLIMOVA\Inj6 2022-12-01-15-50-24-108\

## Корреляция
Trace Score | CRL | QV20+ | Sample_Score | Readable area | Total length | Sample | Качество
33 | 168 | 142 | 33 | 104 | 204 | 19_p1 | 0
52 | 539 | 558 | 51 | 551 | 619 | 19_p2 | 1
48 | 682 | 650 | 44 | 649 | 734 | 19_r1 | 1
38 | 842 | 868 | 41 | 877 | 1200 | 19_r2 | 1
34 | 677 | 834 | 34 | 771 | 1186 | 19_r3 | 1
27 | 375 | 571 | 30 | 729 | 1274 | 19_r4 | 1
42 | 819 | 745 | 40 | 733 | 923 | 39_p1 | 1
35 | 836 | 768 | 33 | 747 | 1102 | 39_p2 | 1
44 | 641 | 640 | 38 | 628 | 731 | 39_r1 | 1
42 | 650 | 748 | 42 | 652 | 937 | 39_r2 | 1
27 | 301 | 404 | 48 | 256 | 916 | 39_r3 | 0
30 | 400 | 486 | 49 | 303 | 894 | 39_r4 | 0
44 | 590 | 547 | 45 | 556 | 693 | 48_p1 | 1
29 | 531 | 466 | 22 | 561 | 615 | 48_p2 | 0
53 | 707 | 699 | 43 | 704 | 734 | 48_r1 | 1
39 | 684 | 841 | 45 | 723 | 1178 | 48_r2 | 1
26 | 346 | 492 | 49 | 256 | 1249 | 48_r3 | 0
41 | 476 | 512 | 49 | 299 | 1161 | 48_r4 | 0
18 | 31 | 171 | 50 | 388 | 695 | 52_p1 | 1
52 | 709 | 697 | 11 | 0 | 586 | 52_p2 | 0
38 | 700 | 812 | 41 | 694 | 732 | 52_r1 | 1
30 | 306 | 378 | 46 | 663 | 1164 | 52_r2 | 1
25 | 307 | 554 | 48 | 256 | 768 | 52_r3 | 0
7 | 0 | 0 | 3 | 0 | 99 | 52_r4 | 0
47 | 853 | 795 | 47 | 757 | 945 | 59_p1 | 1
38 | 580 | 745 | 44 | 787 | 1124 | 59_p2 | 1
55 | 708 | 702 | 46 | 698 | 737 | 59_r1 | 1
45 | 865 | 879 | 49 | 745 | 1111 | 59_r2 | 1
27 | 335 | 533 | 27 | 833 | 1160 | 59_r3 | 1
30 | 380 | 639 | 31 | 778 | 1218 | 59_r4 | 1
48 | 814 | 767 | 46 | 787 | 898 | 60_p1 | 1
38 | 629 | 708 | 52 | 573 | 1082 | 60_p2 | 1
55 | 711 | 701 | 47 | 680 | 737 | 60_r1 | 1
42 | 932 | 909 | 49 | 784 | 1212 | 60_r2 | 1
52 | 311 | 307 | 51 | 291 | 348 | 60_r3 | 0
29 | 380 | 637 | 31 | 848 | 1254 | 60_r4 | 1
55 | 590 | 574 | 52 | 566 | 617 | 70_p1 | 1
39 | 861 | 796 | 46 | 736 | 1092 | 70_p2 | 1
53 | 706 | 697 | 44 | 706 | 732 | 70_r1 | 1
43 | 861 | 905 | 47 | 830 | 1165 | 70_r2 | 1
23 | 301 | 460 | 51 | 266 | 1289 | 70_r3 | 0
32 | 397 | 663 | 40 | 561 | 1066 | 70_r4 | 1
57 | 585 | 580 | 53 | 562 | 614 | 78_p1 | 1
56 | 590 | 585 | 52 | 570 | 620 | 78_p2 | 1
55 | 708 | 704 | 45 | 709 | 732 | 78_r1 | 1
40 | 688 | 901 | 47 | 712 | 1202 | 78_r2 | 1
28 | 335 | 599 | 28 | 789 | 1196 | 78_r3 | 1
30 | 375 | 673 | 32 | 789 | 1264 | 78_r4 | 1