## Assay
Assay Name | HIV GenSeqZ v3.1 | Color | Green
Application Type | Sequencing
Protocols
Do you wish to assign muitiple instrument protocols to this assay?
Instrument protocol | HIV_3.1_BDxStdSeq50_POP7_1
Basecalling Protocol | HIV
SeqScape/MicroSeqID Protocol
Assay Name | HIV v1.1 amplisens | Color | Green
Application Type | Sequencing
Protocols
Do you wish to assign muitiple instrument protocols to this assay?
Instrument protocol | HIV
Basecalling Protocol | HIV
SeqScape/MicroSeqID Protocol
Assay Name | HIV GenSeq0 v3.1 | Color | Green
Application Type | Sequencing
Protocols
Do you wish to assign muitiple instrument protocols to this assay?
Instrument protocol | HIV
Basecalling Protocol | HIV
SeqScape/MicroSeqID Protocol
Assay Name | HIV v3.1 | Color | Green
Application Type | Sequencing
Protocols
Do you wish to assign muitiple instrument protocols to this assay?
Instrument protocol | HIV_3.1_BDxStdSeq50_POP7_1
Basecalling Protocol | HIV
SeqScape/MicroSeqID Protocol

## Instrument protocol
Application Type | Sequencing |  | Capillary Length | 50 cm |  | Polymer | POP7
Dye Set | GenSeq-MS
Instrument Protocol Properties
Run Module | BDxStdSeq50_POP7
Protocol Name | HIV_3.1_BDxStdSeq50_POP7_1
Description
Oven Temperature ('C) | 60 | Run Voltage (kVolts) | 12.2 | PreRun Voltage (kVolts) | 15 | Injection Voltage (kVolts) | 1.8
Run Time (sec.) | 8000 | PreRun Time (sec.) | 180 | Injection Time (sec.) | 24 | Data Delay (sec.) | 1500
Advanced Options
Following values are not recommended to be changed
Voltage Tolerance (kVolts) | 1 | Voltage # of Steps (nk) | 40 | Voltage Step Interval (sec.) | 15
First Read Out Time (ms) | 180 | Second Read Out Time (ms) | 180
Application Type | Sequencing |  | Capillary Length | 50 cm |  | Polymer | POP7
Dye Set | E
Instrument Protocol Properties
Run Module | StdSeq50_POP7
Protocol Name | HIV
Description
Oven Temperature ('C) | 60 | Run Voltage (kVolts) | 8.5 | PreRun Voltage (kVolts) | 15 | Injection Voltage (kVolts) | 1.6
Run Time (sec.) | 5760 | PreRun Time (sec.) | 180 | Injection Time (sec.) | 8 | Data Delay (sec.) | 480
Advanced Options
Following values are not recommended to be changed
Voltage Tolerance (kVolts) | 0.6 | Voltage # of Steps (nk) | 40 | Voltage Step Interval (sec.) | 15
First Read Out Time (ms) | 180 | Second Read Out Time (ms) | 180
Application Type | Sequencing |  | Capillary Length | 50 cm |  | Polymer | POP7
Dye Set | GenSeq-MS
Instrument Protocol Properties
Run Module | BDxStdSeq50_POP7
Protocol Name | HIV_3.1_BDxStdSeq50_POP7_1
Description
Oven Temperature ('C) | 60 | Run Voltage (kVolts) | 8.5 | PreRun Voltage (kVolts) | 15 | Injection Voltage (kVolts) | 1.6
Run Time (sec.) | 5760 | PreRun Time (sec.) | 180 | Injection Time (sec.) | 8 | Data Delay (sec.) | 480
Advanced Options
Following values are not recommended to be changed
Voltage Tolerance (kVolts) | 0.6 | Voltage # of Steps (nk) | 40 | Voltage Step Interval (sec.) | 15
First Read Out Time (ms) | 180 | Second Read Out Time (ms) | 180
Application Type | Sequencing |  | Capillary Length | 50 cm |  | Polymer | POP7
Dye Set | Z
Instrument Protocol Properties
Run Module | BDxStdSeq50_POP7
Protocol Name | HIV_3.1_BDxStdSeq50_POP7_1
Description
Oven Temperature ('C) | 60 | Run Voltage (kVolts) | 8.5 | PreRun Voltage (kVolts) | 15 | Injection Voltage (kVolts) | 1.6
Run Time (sec.) | 5760 | PreRun Time (sec.) | 180 | Injection Time (sec.) | 8 | Data Delay (sec.) | 480
Advanced Options
Following values are not recommended to be changed
Voltage Tolerance (kVolts) | 0.6 | Voltage # of Steps (nk) | 40 | Voltage Step Interval (sec.) | 15
First Read Out Time (ms) | 180 | Second Read Out Time (ms) | 180